6
Invitation to Tender

PAGE  
Advice for Tenderers on Key Requirements

[image: image1.jpg]


     
GOVERNMENT OF THE KINGDOM OF ESWATINI

TENDER REFERENCE NUMBER: TENDER No. 81 of 2022/2023
INVITATION TO TENDER FOR THE DESIGN, SUPPLY, INSTALLATION AND COMMISSIONING OF IRRIGATION INFRASTRUCTURE AT PIGG’S PEAK, MBABANE AND BIG BEND CORRECTIONAL FARMS. 
PROCURING ENTITY: HIS MAJESTY’S CORRECTIONAL SERVICES

Opening Date: 30th September 2022

ADVICE FOR TENDERERS ON KEY REQUIREMENTS

These documents should be read carefully be the Tenderer before preparing the Tender to ensure compliance with the key requirements. Failure to fulfil these requirements will result in disqualification of the offer. Special attention should be paid to the following:

1. Price Schedule and Tender Form

The price schedule must be completed and must include all taxes. The total figure of the Price Schedule must be taken to the Tender Form. 

2. Tender Form
The Tender Form is the Tenderer’s offer and shall therefore be completed, signed by the Tenderer’s authorized representative and stamped with the Tenderer’s stamp. 

3. Documents Required

All documents stated in the ‘’Instruction to Tenderers’’ and ‘’Tender Data Sheet’’ must be included in the offer. 

4. Partial Offers 

When the Tender Documents calls for complete offers all items must be priced, as the offer otherwise will be rejected.  Notes on this can be found in the ‘’Schedule of Requirements’’

5. Envelope with the Original Tender and a Number of Copies 

The envelope with the original Tender Document must also include the number of copies specified in the ‘’Tender Data Sheet’’. The original Tender must clearly be marked ‘’original’’, while the copy/copies should must be marked ‘‘copy’’. The envelope must clearly be marked according to instructions in the ‘’Tender Data Sheet’’.

6. Tender Security

When a Tender Security is required, it can be provided in the form of a Bank Guarantee, an Insurance Company Bond or a Banker’s Guaranteed Cheque. The original Tender document shall in such cases be accompanied by the original Tender Security. Photocopies, company or personal cheques are not accepted and will lead to rejection of the offer.

7. Performance Security

When the ‘’Tender Data Sheet’’ states that a Performance Security is required, this is only applicable to the successful Tenderer, who at the time of the contract signing will be expected to provide such Performance Security to ensure that the supplier carries out his contract obligations. The Performance Security can be provided in the form of a Bank Guarantee or an Insurance Company Bond. 

8. Contract Form

Tenderers should examine the Contract Form in the Tender Document, as it contains information about the contract, which will be signed by the successful Tenderer following the Award of Contract. 

TABLE OF CONTENT 

Part 1 Tendering Procedures

Section 1 – Instructions to Tenderers



Section 2 – Tender Data Sheet

Section 3 – Tender Form and Price Schedule 

Section 4 – Tender Forms:

· Declaration of Eligibility

· Form for Tender Bond or Guarantee

· Manufacturer’s Authorization Form

Part 2 Statement of Requirements

Section 5 – Specifications

Section 6 - Schedule of Requirements 

Part 3    Contract

Section 7 – Contract Form

Section 8 – General Conditions of Contract

Section 8 – Special Conditions of Contract 

Section 9 – Performance Security Form

GOVERNMENT OF THE KINGDOM OF ESWATINI

HIS MAJESTY’S CORRECTIONAL SERVICES

INVITATION TO TENDER

FOR THE DESIGN, SUPPLY, INSTALL AND COMMISSIONING OF IRRIGATION INFRASTRUCTURE AT PIGGS PEAK, MBABANE AND BIG BEND CORRECTIONAL FARMS. 
Tender No. 81 of 2022/2023:

The Eswatini Government is inviting tenders strictly from Category C5 for Lot 1 and Lot2, C6 for Lot 3 registered with the Construction Industry Council of Eswatini for the Design, Supply, Install and commissioning of Irrigation Infrastructure at Piggs Peak, Mbabane and Big Bend Correctional Farms.

Prospective Tenderers are to meet at the Correctional Headquarters Conference Room on the 13th September 2022 at 10:00am for a compulsory pre-tender briefing.

Tender documents may be downloaded from the Eswatini Government tenders website.
From the 30th September 2022 upon payment of a non-refundable cash amount of E500.00
(Five Hundred Emalangeni) payable at the Revenue Office Head 492, Responsibility Centre 1101, Item Code 06701.

Signed and sealed completed tenders must be accompanied by the following documents:

1) A Hand written Original and Valid Tax Clearance Certificate for Government Tender; 

2) Tender Security Form to the value of E10 000.00 (Ten Thousand Emalangeni) original Bank Security Bond;
3) The Original General Receipt for E300.00 (Three Hundred Emalangeni);

4) Copy of a Valid Trading License;

5) One original tender document, two copies of tender document;

6) Copy of Certificate of Registration from the Construction Industry Council of Eswatini;

7) Copy of Valid Certificate of Labour Compliance;

8) Director’s Original Police Clearance Certificate or affidavit for company directors;

9) Copy of Current Form J and Form C

10) Copy of Certificate of Incorporation or equivalent.

11) VAT Registration

12) Proof of Signatory

13) Director’s Certified Copies of National Identification Document

14) ENPF Compliance Certificate 

Tenders must be deposited into the tender submission box at the: Government Tender Board, Treasury Building, Government Complex by the closing date 30th September 2022 before 9:00am for public tender opening.

Any attempt to influence the tender procedure will lead to disqualification of the tender bid.

Late, telegraphic or faxed tenders shall not be accepted.  The Government of Eswatini does not bind itself to accept the lowest or any tender.

Only tenderers who can clearly demonstrate vast experience in designing, supply and installation of irrigation equipment will be considered for this tender.

Note: An Intention of notice to award will be sent through electronic mail directly to prospective bidders at least 10 days before contract award.

LaMakhosini PN Dlamini
Commissioner General of His Majesty’s Correctional Services

 INSTRUCTIONS TO TENDERERS

	Tenderers should read these Instructions in conjunction with the attached Tender Data Sheet.


1.  
Scope of Services

This tender is expected to result in a contract that will run from the date of signing to the 31st March 2023 at the locations described in the Project Specifications.    
2. 
Tenderers responsibilities

Unless otherwise stated in the Tender Data Sheet the Tenderer is encouraged to visit the site/s at their own risk and cost to ensure that they are fully aware of the site conditions. 

The Tenderer is expected to examine all instructions, forms, terms, and specifications in the Tendering Documents.  Failure to furnish all information required by the Tendering Documents or to submit a Tender not substantially responsive to the Tendering Documents will be at the Tenderer’s risk and may result in the rejection of its Tender.

The Tenderer shall bear all costs associated with the preparation and submission of its Tender, and the Employer will in no case be responsible or liable for those costs, regardless of the conduct or outcome of the Tendering process.

3.
Corrupt Collusive, Fraudulent and Coercive Practices 

Tenderers should be aware that the Government of Eswatini has embarked on a ‘procurement reform program’ with the objective of achieving greater transparency, accountability and value for money in the use of public funds.

Tenderers participating in public procurement at all times are to abide by their obligations and are not to commit or abet corrupt, fraudulent, collusive or coercive practices.

Tenderers should be aware that a tenderer who engages in corrupt, collusive, fraudulent or coercive practices will have their proposals rejected and may further be subject to prosecution under the laws of Eswatini.

The Government of Eswatini has recently put in place an Anti Corruption Commission to investigate specific instances of alleged corrupt, collusive, fraudulent or coercive procurement practices,

“Corrupt practice” means the offering, giving, receiving or soliciting, directly or indirectly, of any thing of value to influence the action of a public officer in the procurement process or in contract execution;

“Collusive” practice means a scheme or arrangement between two or more tenderers, with or without the knowledge of the procuring entity, designed to establish tender prices at artificial, non-competitive levels; 

“Fraudulent practice” means a misrepresentation or omission of facts in order to influence a procurement process or the execution of a contract;

“Coercive practice” means harming or threatening to harm, directly or indirectly, persons, or their property, to influence their participation in a procurement process or affect the execution of a contract. 

4.
Tender preparation

The Tender prepared by the Tenderer, as well as all correspondence and documents relating to the Tender exchanged by the Tenderer and the Procuring Entity shall be written in the English language and in Black ink.

5.
Pre-tender Meeting 

If so stated in the Tender Data Sheet Tenderers are invited to a pre-tender meeting which will be held at the time and at the location stated. Tenderers are encouraged to provide questions in writing before the event. If a pre-tender meeting is described as compulsory, tenderers will not be eligible to tender if they fail to attend.

6.
Validity

Tenders shall be valid for the number of days specified in the Tender Data Sheet past the latest date for submission. Tenders with a shorter validity will be rejected.

7.
Documentary Requirements 

Tenders shall be submitted on the forms provided in the Tendering Document and in the number of copies stated in the Tender Data Sheet. Tenders must be typewritten or in black ink and signed in black ink by the contractor’s authorized representative. Incomplete or unsigned Tenders may be rejected.

Tenderers shall indicate pricing and pricing breakdown as required. In the event of an error in the extension of prices, the unit prices shall prevail.  Prices shall be fixed for the duration of the contract and not subject to variation unless otherwise stated in the Tender Data Sheet. Prices must include all costs for the requirement including any incidental services and all applicable taxes. 

8.
Documents comprising the Tenderer’s Offer

The Tender must comprise the following:

a) Tender Form duly completed and signed by the Tenderer (and any joint venture partners) together with Priced Schedule/s with itemized prices in Emalangeni including any breakdown costs in the forms contained in this tender document. 

b) A signed Declaration of Eligibility in the form provided in this document. 

c) A Tender Security or Bond in the form contained in this document or a Bank guaranteed cheque for the value and validity indicated in the Tender Data Sheet. The Tender security may be forfeited if a Tenderer:

· Withdraws its Tender during the period of 
Tender validity specified on the Tender Form, 
or;

· does not accept the correction of errors or;

· In the case of a successful Tenderer, if the Tenderer fails to sign the contract; or to furnish a performance guarantee.

d) A certified copy of a relevant current Trading Licence (Not applicable for foreign suppliers).

e) Original and Valid Tax Clearance Certificate (Not applicable for foreign suppliers).

f) Police Clearance or affidavit for company directors.

g) The tenderer must have a Construction Industry Council registration Certificate: catergory C5 for Lot 1 & 2 and C6 for Lot 3.

h) Any other documents specified in the Tender Data Sheet.

Failure to provide any of the required documents may result in rejection of the Tenderer’s offer. 

9.
Tenderer’s Request for Clarification

A prospective Tenderer requiring any clarification of the Tendering documents may notify the Procuring Entity in writing or electronic mail. The Procuring Entity will respond in writing to any request for clarification of the tendering documents. Written copies of the Procuring Entity’s response (including an explanation of the query but without identifying the source of inquiry) will be sent to all prospective tenderers that have received the tender documents.

Email: fakudzenomkhosi@gmail.com
And copy to

Email: mkhiwamaseko@gmail.com
Tel: +268 24042476
10.
Submission of Tenders

Original, signed, sealed Tenders must be received at the location specified in the Tender Data Sheet on or before the specified date and time.

The Tenderer shall seal the original and each copy of the Tender in separate envelopes, duly marking the envelopes as “Original” and “Copy” and quoting the Tender reference and the Tenderers Address. The envelopes shall then be sealed in an outer envelope. The outer envelope shall be addressed and marked according to the requirements of the Tender Data Sheet.

11.
Late Tenders

Any Tender received by the Procuring Entity after the deadline for submission specified in the Tender Data Sheet will be rejected and returned unopened to the Tenderer.

12.
Modifications and withdrawal of Tenders

The Tenderer may modify or withdraw its Tender after submission, provided that written notice of the modification is received by the Procuring Entity prior to the deadline for its submission. A withdrawal notice may also be sent by fax or e-mail, but followed by a signed confirmation copy. A Tenderer’s representative shall initial Tender changes or modifications in black ink.

No Tender may be modified after the deadline for submission of Tenders.

No Tender may be withdrawn in the interval between the deadline for submission of Tenders and the expiration of its validity. 

13.
Tender opening

The date, time and place for the opening of Tenders and proposals is specified in the Tender Data Sheet. All Tenderers have the right to attend at their own expense.

The name of each Tenderer and the total amount of its Tender will be read aloud and the Tender Form and price schedules shall be signed by the Tender Opening Committee.

Minutes of the Tender Opening will be kept and copies provided to any interested party upon request.

14.
Preliminary examination 

Prior to the detailed evaluation, the Procuring Entity will determine the substantial responsiveness of each Tender. For purposes of this clause, a substantially responsive Tender is one, which conforms to all the terms and conditions of the Tendering document without material deviations. 

The Procuring Entity’s determination of a Tender’s responsiveness is based on the contents of the Tender itself without recourse to extrinsic evidence.

If a Tender is not substantially responsive, it will be rejected by the Procuring Entity and may not subsequently be made responsive by the Tenderer by correction of the nonconformity.

The Procuring Entity  will examine the Tenders to determine whether they are complete, whether any computational errors have been made, whether the documents have been properly signed, and whether the Tenders are generally in order.

The Procuring Entity shall reject any Tender when:

· The Tenderer has failed to demonstrate ability to perform according to the requirements indicated in the Tendering documents;

· The Tenderer refuses to accept the correction of an arithmetical error;

· The Tenderer is not substantially responsive to the requirements of the Tendering documents or the technical specifications;

· The Tenderer has failed to comply with a request for clarification of Tenders.

· If a Tender Security has been requested and this does not accompany the Tender.

15.
Detailed evaluation

Only Tenders that were found to be substantially responsive will be subjected to detailed examination.

The Procuring Entity shall appoint a committee of evaluators to examine and evaluate all Tenders.

In the evaluation of Tenders, the following criteria will be taken into account.

· Responsiveness to the required specifications.

· Experience (relevant to the scope of works) and capacity of the Tenderer.

· Current work load of Tenderer

· Organizational structure of the Tenderer.

· Price of the Service. 

· Any other Criteria specified in the Tender Data Sheet.

During evaluation of the Tenders, the Procuring Entity may, at its discretion, ask the Tenderer for a clarification of its Tender.  The request for clarification and the response shall be in writing, and no change in the prices or substance of the Tender shall be sought, offered, or permitted. Tenderers who do not respond to requests for clarification will have their tenders rejected. 

Any effort by a Tenderer to influence the Procuring Entity in its decisions on Tender evaluation, Tender comparison, or contract award may result in the rejection of the Tenderer’s Tender.

16.
Local Preference 

Swazi companies will be given a preference in the evaluation of tenders by adding a 15% (fifteen percent) margin to the evaluated price of other tenderers who are not eligible for the preference during the financial evaluation of tenders. For purposes of this Clause, a Swati company is one which is registered in Eswatini and of which at least 60% of the controlling shares are owned by Eswatini citizens.

17.
Award of contract

Prior to recommending an award of contract, His Majesty’s Correctional Services shall publish a Notice of Intention to Award in line with Section 45 of the Public Procurement Act of 2011. This award shall be published on the Government website for at least 10 days before contract award. Prospective bidders will also be notified directly through electronic mail.

Prior to recommending an award of contract the Procuring Entity may decide to post qualify the lowest evaluated substantially responsive tenderer to verify the tenderer’s documentation and facilities. A contract will not be awarded to any tenderer who fails to be post qualified. 

His Majesty’s Correctional Services will award the contract to the Tenderer having submitted the lowest evaluated, substantially responsive Tender who is recognized to have the capability to undertake and complete a contract.

Prior to the expiration of the Tender’s validity, the Procuring Entity will notify the successful Tenderer in writing that its Tender has been accepted. The successful Tenderer will be expected to sign a contract and if required in the Tender Data sheet provide a Performance Guarantee within 14 (fourteen) days of the notification of award. The Performance Guarantee will be valid for the period of the contract including any warranty obligations.     Where a Tender Security has been provided, this will be returned to the successful Tenderer on furnishing of a Performance Guarantee. All unsuccessful tenderers securities will be returned at the same time.

18.
Rejection of Tenders

The Procuring Entity reserves the right to accept or reject any tender, and to annul the tendering process at any time prior to the award of a contract, without thereby incurring any liability to the affected Tenderer(s) or any obligation to provide information on the grounds for its action.

19.
Changes or Reductions at award

The Procuring Entity reserves the right at the time of contract award to increase or decrease, by up to 15% (fifteen percent), the quantity of goods originally specified in the Schedule of Requirements without any change in unit price or other terms and conditions.

20.
Contract formation

Your response to the Tendering Document is an offer to the Government.

A Tender becomes a binding contract only when officially accepted in writing by the Government. Payment for any procurement under this tender is dependent upon a Contract duly signed by both parties.

TENDER DATA SHEET

This Tender Data Sheet shall be read in conjunction with the foregoing “Instructions to Tenderers”
	Section No.
	Section description
	Additional or modifying data to the Instructions to Tenderers

	1. 
	Eligibility Criteria
	Tenderers must provide a signed ‘Declaration of Eligibility’ in the format as included in this Tender Document (Section 4). In case of a joint venture or consortium each member must sign a declaration. In addition tenderers must be registered with the Construction Industry Council of Eswatini under Category C5 for Lot 1 & 2 and C6 For Lot 3. 

	1b.
	Qualification Criteria
	The contractor to provide a list of similar completed projects undertaken in the past two years. These must be accompanied by the Client, Project, Value, Consulting Firm, Duration and Status.

	6.
	Pre-tender Meeting/Site Inspection


	 Pre-tender meeting to be held on the 13th September 2022 at the Correctional Headquarters and Site inspections to be held at the following sites and dates:

Mbabane Correctional Farm – 13th Sep 2022 at 1200hrs 

Pigg’s Peak Correctional Farm – 14th Sep 2022 at 0900hrs
Big Bend Correctional Farm –15th Sep 2022 at 0900hrs        
Attendance is compulsory

	7.
	Validity Period of the Tender
	The validity period of the Tender shall be 90 days from the date of submission. 

	8.
	Documentary Requirements
	One original and two (2) copies are required. Mark clearly on the front page, which is the original and which are the copies.  

	9.
	Documents comprising the Tenderers Offer
	In addition to the documents stated in the “Instructions to Tenderers”, the following documents are required:

1) A Hand Written Original and Valid Tax Compliance Certificate for Government Tender; 

2) Tender Security Form to the value of E10 000.00 (Ten Thousand Emalangeni) original Bank Security Bond. 

3) The Original General Receipt for E300.00 (Three hundred Emalangeni);

4) Copy of Certificate of VAT Registration;

5) One original tender document, two copies of tender document;

6) Copy of Certificate of registration from the Construction Industry Council of Eswatini (C5 for Lot 1&2 and C6 for Lot 3);

7) Copy of Valid Certificate of Labour Compliance;

8) Copy of Valid Certificate of ENPF Compliance Certificate;

9) Original Police Clearance Certificate or affidavit for company directors;

10) Copy of current Form J;

11) Copy of current Form C;

12)  Copy of Certificate of Incorporation or equivalent.

13) Duly signed Tender Form;

14) Duly signed Bill of Quantities;

15) Specification and Bill of Quantities must be duly completed and signed.

	10
	Prices
	Prices must include all taxes and duties.
All prices in the tender must be in Emalangeni. 

 

	12.
	Tender Submission.
	The location for submission of Tenders is :

The Secretary to National Tender Board

Treasury Building, 

 Mhlambanyatsi Road,

 MBABANE

Tenders must be deposited in the Treasury Tender Box. The Tender Box Closing Time is as per the Clock in the Foyer of the Treasury Building adjacent to the Treasury Tender Box.
The date and time for submission of Tenders is: 30th September 2022 at 9:00am
The envelope SHALL be sealed and must be marked: 
The Secretary to National Tender Board

Treasury Building

Mhlambanyatsi Road

MBABANE

Further, the Envelope must be clearly marked with the following words; “His Majesty’s Correctional Services; Tender No: 81 of 2022/2023;  DESIGN, SUPPLY, INSTALLATION AND COMMISSIONING OF IRRIGATION INFRASTRUCTURE AT PIGG’S PEAK, MBABANE AND BIG BEND CORRECTIONAL FARMS.  DO NOT OPEN BEFORE 0900hrs 30th September 2022.
The envelope must contain the original, which are marked ‘original’ and an envelope containing the three copies, which are marked ‘copy’. 

	15.
	Tender Opening
	Tenders will be opened at Tender Board, Room 109 Treasury Building, and Mhlambanyatsi Road, Mbabane on Friday the 30th September 2022, at 0900hrs.

	17.
	Detailed Evaluation
	The Criteria stated in the “Instruction to Tenderer” will be used in the evaluation.

Tenders will be evaluated on a Lot by Lot Basis. 
NOTE: Only one Tenderer will be eligible for each of the three (3) Lots
Only complete offers will be considered for evaluation.

	18.
	Award of Contract
	Prior to the expiration of the Tender’s validity, the Procuring Entity will notify the Tenderer in writing that its Tender has been accepted. The notice of intention to award will be sent and published the government website at least 10 days before the contract award. 
A Performance Bond is required to the value of 5%.The Performance Bond shall be provided in the form stated in Special Conditions of the Contract and  shall be valid for the period of the Contract including any warranty obligations. 

Once delivery has been completed the Contractor may apply to have the Performance Security reduced to 1% to cover the period of warranty obligations.  

	19
	Commissioning and tender closing
	Commissioning (including pressure and flow testing/analysis, certification of results, production of operating manuals, initial/final training of operators, provision for maintenance period) shall be  compulsory upon completion of the tender.


TENDER FORM

[…/09/2022]

Tender No: 81 of 2022/2023]

To: The [His Majesty’s Correctional Services]
Government of Eswatini
LOT 1
Having examined the Invitation to Tender documents the receipt of which is hereby duly acknowledged, we, the undersigned, offer to Design, Supply and Install and commissioning of Irrigation Infrastructure at Piggs Peak correctional Farm in conformity with the said “Invitation to Tender” documents for the sum of [>>>insert the sum first as a figure, then in words>>>]or such other sums as may be as certained in accordance with the Schedule of Prices attached herewith and made part of this Tender and which are inclusive of all taxes.
We undertake, if our Tender is accepted, to deliver the goods in accordance with the delivery schedule specified in the Schedule of Requirements.

If our Tender is accepted, and if required in the Special Conditions of Contract, we will obtain the performance security of a reputable bank or an insurance company in a sum equivalent to [>>>insert the value of the performance security first as a percentage, as stated in the Tender Data Sheet Section 19>>>] of the Contract Price for the due performance of the Contract, and in the form prescribed by the Procuring Entity.

We agree to abide by this Tender for a period of [>>>state here the number of days, not less than 90>>>] days from the date fixed for Tender opening, as stated in the Tender Data Sheet Section 15, and it shall remain binding upon us and may be accepted at any time before the expiration of that period.

Until a formal Contract is prepared and executed, this Tender, together with your written acceptance thereof and your notification of award, shall constitute a binding Contract between us.

We understand that you are not bound to accept the lowest or any tender you may receive.
_________________________                            ______________________
(Signature)                                                            (in the capacity of)
Duly authorized to sign Tender for and on behalf of___________________________

TENDER FORM

[…/09/2022]

Tender No: 81 of 2022/2023]

To: The [His Majesty’s Correctional Services]
Government of Eswatini
LOT 2
Having examined the Invitation to Tender documents the receipt of which is hereby duly acknowledged, we, the undersigned, offer to Design, Supply and Install and commissioning of Irrigation Infrastructure at Mbabane Correctional Farm in conformity with the said “Invitation to Tender” documents for the sum of [>>>insert the sum first as a figure, then in words>>>]or such other sums as may be as certained in accordance with the Schedule of Prices attached herewith and made part of this Tender and which are inclusive of all taxes.
We undertake, if our Tender is accepted, to deliver the goods in accordance with the delivery schedule specified in the Schedule of Requirements.

If our Tender is accepted, and if required in the Special Conditions of Contract, we will obtain the performance security of a reputable bank or an insurance company in a sum equivalent to [>>>insert the value of the performance security first as a percentage, as stated in the Tender Data Sheet Section 19>>>] of the Contract Price for the due performance of the Contract, and in the form prescribed by the Procuring Entity.

We agree to abide by this Tender for a period of [>>>state here the number of days, not less than 90>>>] days from the date fixed for Tender opening, as stated in the Tender Data Sheet Section 15, and it shall remain binding upon us and may be accepted at any time before the expiration of that period.

Until a formal Contract is prepared and executed, this Tender, together with your written acceptance thereof and your notification of award, shall constitute a binding Contract between us.

We understand that you are not bound to accept the lowest or any tender you may receive.
_________________________                            ______________________
(Signature)                                                            (in the capacity of)
Duly authorized to sign Tender for and on behalf of___________________________

TENDER FORM

[…/09/2022]

Tender No: 81 of 2022/2023]
To: The [His Majesty’s Correctional Services]
Government of Eswatini
LOT 3
Having examined the Invitation to Tender documents the receipt of which is hereby duly acknowledged, we, the undersigned, offer to Design, Supply and Install and commissioning of Irrigation Infrastructure at Big Bend Correctional Farm in conformity with the said “Invitation to Tender” documents for the sum of [>>>insert the sum first as a figure, then in words>>>]or such other sums as may be as certained in accordance with the Schedule of Prices attached herewith and made part of this Tender and which are inclusive of all taxes.
We undertake, if our Tender is accepted, to deliver the goods in accordance with the delivery schedule specified in the Schedule of Requirements.

If our Tender is accepted, and if required in the Special Conditions of Contract, we will obtain the performance security of a reputable bank or an insurance company in a sum equivalent to [>>>insert the value of the performance security first as a percentage, as stated in the Tender Data Sheet Section 19>>>] of the Contract Price for the due performance of the Contract, and in the form prescribed by the Procuring Entity.

We agree to abide by this Tender for a period of [>>>state here the number of days, not less than 90>>>] days from the date fixed for Tender opening, as stated in the Tender Data Sheet Section 15, and it shall remain binding upon us and may be accepted at any time before the expiration of that period.

Until a formal Contract is prepared and executed, this Tender, together with your written acceptance thereof and your notification of award, shall constitute a binding Contract between us.

We understand that you are not bound to accept the lowest or any tender you may receive.
_________________________                            ______________________
(Signature)                                                            (in the capacity of)
Duly authorized to sign Tender for and on behalf of___________________________

PRICE SCHEDULE
 ANTICIPATED PRICE SCHEDULE OF REQUIREMENTS FOR FINANCIAL YEAR 2022/23
THE SUPPLIER IS REQUESTED TO STATE PRICE PER ITEM

Number of Lots: 3

LOT 1: DESIGN, SUPPLY, INSTALL AND COMMISSIONING OF TURNKEY IRRIGATION INFRASTRUCTURE AT PIGG’S PEAK CORRECTIONAL FARM. 
	
	Item description
	SIZE
	UNIT 
	Estimated Quantities 


	UNIT PRICE
	TOTAL

AMOUNT

	A.
	PRELIMINARY AND GENERAL

Site establishment


	
	Sum


	1


	
	

	B.
	TRENCHING
1.Mainline trenching 900mm x 400mm wide

2. Sub mainline trenching 400mm x 500mm

3. Lateral trenching 200mm x 300mm
	
	m
m
m

	700

700
1300
	
	

	C. 
	RIVER PUMP STATION CIVIL WORKS AND SUMP: 

1. Site Clearance
2. Earthworks 

3. Foundation concrete works
4. Foundation Block work

5. Concrete slab
6. Superstructure block work  4m x 4m

7. Ring beam and gantry

8. Roofing structure

9. Finishes


	
	Sum

Sum

Sum
Sum
Sum 

Sum
Sum 
Sum
Sum

	1

1

1
1
1

1

1

1

1
	
	

	D.
	PUMP – MECHANICAL AND ELECTRICAL WORKS:

1.Pump installation – etarnom 050-032-250 with 15kw motor

2. Suction and delivery pipework

3. Electrical works

4. Main incomer two outlets
5. Variable speed drives


	15kw

15kw
	kw
Sum

Sum

Sum

Sum
	2
1

1

1

2
	
	

	E.
	IRRIGATION LAYOUT:  

1.Installation of mainlines, class 10

2. Installation of sub mainlines, class 10
3. Installation of laterals and risers, class 10
4. Sprinkler assembly and placement

5. Stands 30mm x 25mm x 1200mm
6. End caps 32mm  
7. Saddles 65mm x 32mm

8. End caps 65mm 

9. Male adaptors

10. Sub mainline valve cluster 75 x 63mm with psv (pressure sustaining valve)

11. Saddles 32mm x 25mm

12. Brass Sprinklers 

13. Draglines 100m

14. Fittings installation
	75mm
63mm

32mm

300mm

1200mm

32mm

65mm

65mm

32mm

63mm

32mm

1m

20mm
	m
m

m
mm
Sum
Sum
Sum
Sum
Sum
Sum
Sum
 Sum

Sum

Sum
	700
600

1300
140
25
40
40
8
40
4
140
25

20

1
	
	

	F
	COMMISSIONING AND CLOSING OF TENDER:
1. Commissioning (incl pressure and flow testing/analysis, certification of results, production of operating manuals, initial/final training of operators, provision for maintenance period)
	
	Sum

Sum
	1

1
	
	

	
	TOTAL 
	


Prices Shall Include All Taxes, Sales Tax and Duty Paid or To Be Paid in The Event of An Award of Contract.

Signed:

………………………………………..
………………………………………..

(Signature)                                                     (In the Capacity Of)
Duly authorized to sign the Tender for and on behalf of……………………………………

Date: ………………………………………..

  LOT 2: DESIGN, SUPPLY, INSTALL AND COMMISSIONING OF TURNKEY IRRIGATION INFRASTRUCTURE AT MBABANE CORRECTIONAL FARM. 
	
	Item description
	SIZE
	UNIT 
	Estimated Quantities 


	UNIT PRICE
	TOTAL

AMOUNT

	A.
	PRELIMINARY AND GENERAL

Site establishment


	
	Sum


	1


	
	

	B.
	TRENCHING

1.Mainline trenching 900mm x 400mm wide

2. Sub mainline trenching 400mm x 500mm

3. Lateral trenching 200mm x 300mm
	
	m

m

m


	800
700

2600
	
	

	C. 
	RIVER PUMP STATION CIVIL WORKS AND SUMP: 

1. Site Clearance

2. Earthworks 

3. Foundation concrete works

4. Foundation Block work

5. Concrete slab

6. Superstructure block work  4m x 4m

7. Ring beam and gantry

8. Roofing structure

9. Finishes


	
	Sum

Sum

Sum

Sum

Sum 

Sum

Sum 

Sum

Sum


	1

1

1

1

1

1

1

1

1


	
	

	D.
	PUMP – MECHANICAL AND ELECTRICAL WORKS:

1.Pump installation – etarnom 050-032-250 with 15kw motor

2. Suction and delivery pipework

3. Electrical works

4. Main incomer two outlets

5. Variable speed drives


	15kw

15kw
	kw

Sum

Sum

Sum

Sum
	2

1

1

1

2
	
	

	E.
	IRRIGATION LAYOUT:  

1.Installation of mainlines, class 10

2. Installation of sub mainlines, class 10

3. Installation of laterals and risers, class 10

4. Sprinkler assembly and placement

5. Stands 300mm x 25mm x1200mm
6. End caps 32mm

7. Saddles 65mm x 32mm

8. End caps 65mm 

9. Male adaptors

10. Sub mainline valve cluster 75 x 63mm with psv (pressure sustaining valve)

11. Saddles 32mm x 25mm

12. Brass Sprinklers 

13. Draglines 100m

14. Fittings installation
	75mm

63mm

32mm

300mm

1200mm

32mm

65mm

65mm

32mm

63mm

32mm

1m

20mm
	m

m

m

mm

Sum

Sum

Sum

Sum

Sum

Sum

Sum

Sum

Sum

Sum
	800

1200

2600

280

50
80

80
16
80

8
280

50
40

1
	
	

	F
	COMMISSIONING AND CLOSING OF TENDER:
Commissioning (incl pressure and flow testing/analysis, certification of results, production of operating manuals, initial/final training of operators, provision for maintenance period)
	
	Sum


	1


	
	

	
	TOTAL
	


Prices Shall Include All Taxes, Sales Tax and Duty Paid or To Be Paid in The Event of An Award of Contract.

Signed:
………………………………………..
………………………………………..

(Signature)                                                     (In the Capacity Of)
Duly authorized to sign the Tender for and on behalf of……………………………………
Date: ………………………………………..
LOT 3: DESILTING OF RIVER BANKS, SUPPLY, INSTALL AND COMMISSIONING OF TURNKEY IRRIGATION INFRASTRUCTURE AT BIG BEND CORRECTIONAL FARM

	
	Item description
	SIZE
	UNIT 
	Estimated Quantities 


	UNIT PRICE
	TOTAL

AMOUNT

	A.
	PRELIMINARY AND GENERAL

Site establishment


	
	Sum


	1


	
	

	B.
	DESILTING AND CLEARING OF CANAL WATER INTAKE AREA:

1. Excavation and desilting of sand soil deposition bend at water intake point.

	
	m3 
	1800
	
	

	C. 
	INSTALLATION OF PIPES TO DRAW WATER FROM THE RIVER:

1. Installation of perforated pipes from across the river bed subsurface to the water intake point. To cover 150m.
2. Application of crushed stones to cover perforated pipes across river bed surface to the water intake point.

3.  Installation of filter membrane to envelope the perforated pipes across the river bed.

	110mm

x 6m

19mm
150m x 

3m
	M
M3

m
	75
200

450
	
	

	D.


	DESILTING AND UPGRADING OF SANDTRAP:
1. Upgrading of current sand trap – reinforce walls using 32 MAP readily mixed concrete. 10m x 2m x 1m.
Reinforced walls (Length) – 10m x 2m x 115mm (by 2 walls)
Reinforced walls (Width) – 2m x 1m x 115mm (by 2 walls).

Reinforced Floor – 10m x 1m x 115mm

2.Ring force – Y12 x 6m
4.Mesh wire – 2.4m x 4.6m
	10m x 2m x 115mm

2m x 1m x 115mm
10m x 1m x 115mm
6m

2.4m x 4.6m
	M3

M3

M3

M
m
	4.6 
0.46

1.15

11

6
	
	

	F
	COMMISSIONING AND CLOSING OF TENDER:
1. Commissioning (incl pressure and flow testing/analysis, certification of results, production of operating manuals, initial/final training of operators, provision for maintenance period)
	
	Sum


	1


	
	

	
	TOTAL
	


Prices Shall Include All Taxes, Sales Tax and Duty Paid or To Be Paid in The Event of An Award of Contract.

Signed:

………………………………………..
………………………………………..

(Signature)                                                     (In the Capacity Of)
Duly authorized to sign the Tender for and on behalf of……………………………………
Date: ………………………………………..

DECLARATION OF ELIGIBILITY

In accordance with the requirements of the Procurement Regulations issued in accordance with the terms of Section 26 of the Finance and Audit Act No. 18 of 1967 all Tenderers must meet the following criteria, to be eligible to participate in public procurement

[Tenderers must provide a signed declaration on their company letterhead in the following format. If the Tender is being presented by a joint venture or consortium all members must sign each their declaration.]

Dear Sirs 

Re Tender Reference [….of 2022/2023]

In accordance with the eligibility requirements of the tender documents we hereby declare that:

(a) We, including any joint venture partners or consortium partners, are a legal entity and have the legal capacity to enter into the contract;

(b) We are not insolvent, in receivership, bankrupt or being wound up, our affairs are not being administered by a court or a judicial officer, our business activities have not been suspended, and we not the subject of legal proceedings for any of the foregoing;

(c) We have fulfilled our obligations to pay taxes and social security contributions;

(d) We have not, and our directors or officers have not, been convicted of any criminal offence related to our/their professional conduct or the making of false statements or misrepresentations as to their qualifications to enter into a contract within a period of five years preceding the commencement of the procurement proceedings; and

(e) That we do not have a conflict of interest (1) in relation to the procurement requirement. 

Signed: ……………………………………..

Date:……………………………………..

Note:
(1) Conflict of interest is defined in Section 4 of the Instructions to Tenderers.

FORM FOR TENDER SECURITY

WHEREAS Messrs [>>>Name of Tenderer>>>] of [>>>Address of Tenderer>>>]
Hereinafter referred to as the "Tenderer" has on [>>>date>>>] submitted its Tender for the DESIGN, SUPPLY, INSTALL AND COMMISSIONING OF IRRIGATION INFRASTRUCTURE AT PIGGS PEAK, MBABANE AND BIG BEND CORRECTIONAL FARMS.  
AND WHEREAS the said Tenderer has undertaken to abide by his Tender so submitted for a period of [>>>state here the number of days, not less than 90>>>] calendar days of the date of submission hereinabove stated, or such other period as may mutually be agreed between the Government of Eswatini, represented by the Director of Central Stores of the Government of Eswatini and the Tenderer and notified to us by the Government of Eswatini.

NOW

WE,[>>>name and address of financial institution registered in the Kingdom of Eswatini>>>]hereby guarantee and undertake to pay to the account of the Government of Eswatini on first demand in writing and without reference to the Tenderer the sum of Emalangeni[>>>insert the sum first as a figure, then in words>>>].

PROVIDED THAT

a)
This Tender Security remains valid, and

b)
The Government of Eswatini declares in writing that the Tenderer has failed to abide by his undertaking that the Tender shall remain open for acceptance within the specified period, or that the Tenderer is unwilling for some reason (which shall be clearly stated) to abide by his Tender or enter into a contract agreement with the Government of Eswatini for the DESIGN, SUPPLY, INSTALL AND COMMISSIONING OF IRRIGATION INFRASTRUCTURE AT PIGGS PEAK, MBABANE AND BIG BEND CORRECTIONAL FARMS.  
This Tender Security shall remain valid in the first instance until the earlier of:

a) 10 days after the expiry of the Tenderer’s Tender;

b) Upon our receipt of copies of the contract signed by the Tenderer and the Performance Security issued to you upon the instruction of the Tenderer; or

c) Upon our receipt of a copy of a notification from the Government of Eswatini to the Tenderer of the name of the successful Tenderer. 

…………………………


………………………….

(Authorised Signature)
(Date)

………………………



………………………….


(Name of Signatory)


(Seal/Stamp of Financial Institution)

…………………………

(Position of Signatory)

MANUFACTURER’S AUTHORIZATION FORM

………………. 2022
See Clause 9(i) of the “Instructions to Tenderers” and the corresponding section in the Tender Data Sheet for further instruction.

To: His Majesty’s Correctional Services;
WHEREAS [>>nameof the Manufacturer>>]who are established and reputable manufacturers of [>>nameand/or description of the goods>>]having factories at[>>address of factory>>]

do hereby authorize [>>name and address of Agent>>] to submit a Tender, and subsequently negotiate and sign the Contract with you against Tender ref.[>>reference number of the Tender>>] for the above goods manufactured by us.

We hereby extend our full guarantee and warranty as per Clause 14 of the General Conditions of Contract for the goods offered for supply by the above firm against this Invitation for Tenders.

………………………

(Date)

………………………






(Authorised Signature for and on behalf of Manufacturer)


ADVANCE \D 6.0[Note:
This letter of authority should be on the letterhead of the Manufacturer and should be signed by a person having the authority to bind the Manufacturer. It should be included by the Tenderer in its Tender. If the organization is also authorized to execute the manufacturer’s warranty and maintenance plans, then this MUST also be stated.]
TECHNICAL SPECIFICATIONS

SPECIFICATIONS

Tender Reference NO. 81 OF 2022/23
His Majesty’s Correctional Services is inviting tenderers for the Design, Supply, Installation and Commissioning of Irrigation Infrastructure at Pigg’s Peak, Mbabane and Big Bend Correctional Centres. The following specifications will guide the tenderer in execution of the work:

PROJECT SPECIFICATIONS:

Should any requirement of this Project Specification conflict with any requirement of a standardized or particular specification, the Project Specification will take precedence.
PROJECT DESIGN:

Comprehensive designs for the project shall be submitted as a requirement. However, where any other factor that would increase operating costs exists, a lower alternative should be sought in order to keep the project cost effective.  

In cases of alternatives the main offer should be clearly indicated. The main offered design should be developed with the following in mind:

· Capital cost.

· Energy consumption of the project over 10 years.

· Ease of management and flexibility.

In general, this contract includes for the design of adequate pumping capacity for the irrigation system, construction of pump stations, control systems, main and sub-main pipelines and fittings, cabling and all necessary infield sprinkler irrigation equipment.

The project costing should be split accordingly as per the price schedule in the tender document.
In their design proposals, tenderers must carefully consider row direction – in respect of surface drainage and soil erosion hazard, and existing land and infrastructure layout, including roads and waterways.
BEST PRACTICE
With regard to all irrigation and ancillary systems, construction work and equipment chosen and offered in this Tender, it will be expected of Tenderers that they have applied best practice and norms as are accepted by the Construction Industry and Irrigation Industry, their designs have taken into consideration all relevant engineering requirements and standards for this type of work. The tenderers must possess a Construction Industry Council certificate, category C5.

The Tenderer must include in his/her Tender – a detailed summary/description (Summary of Tenderer’s Design – STD) of all the key items of equipment that he/she wishes to supply/include in his/her design and offer.  Where a specific requirement is called for, this detail will be requested under the appropriate specification.

Tenderers must submit sufficient information to demonstrate their experience, capability and capacity in the sector or field as specified in the tender.  
LAYOUT

Field boundaries are to follow those areas identified during the site meeting as much as possible.  Roads and other open spaces excluded should be left as is unless specified during the site meeting.  Surface drainage should be taken into account considering the frequency of high intensity storms during the summer season.

Pipelines where possible should not beneath the fields or in areas where access for maintenance may result in major crop damage.
MATERIAL SPECIFICATION AND EQUIPMENT COMPLIANCE

The Contractor must provide only the equipment which complies with the requirements of the document.  Any equipment which, in the opinion of the Engineer, is found to be sub – standard or which does not comply with the technical information submitted to the contractor and accepted by the Engineer at any time of tendering, will be rejected.  All costs involved whether direct or indirect for the rectification thereof shall be to the Contractor’s account.

DEFECTS LIABILITY
With regard to materials, there will be a Defects Liability period (Guarantee Period and Retention Period) of 12 months.  Material failure during this period – whether or not under the manufacturer’s guarantee – due to intrinsic or inherent weakness or to poor workmanship of the item during installation or to inappropriate design, must be wither replaced or repaired to the satisfaction of the Engineer by the Contractor.  Replacement or repair will be the discretion of the Engineer.

APPLICABLE STANDARDS FOR INSTALLATION
For the purpose of this contract the following standards and particular specifications shall apply:

SANS 1200

           General

SANS 1200 C

Site Clearance

SANS 1200 DA

Earthworks (small works)

SANS 1200 DB

Earthworks (pipe trenches)

SANS 1200 GA

Concrete (small works)

SANS 1200 L

Medium pressure pipelines

SANS 1200 LB

Bedding (pipes)

· These SANS specifications are not included in this Contract Document and therefore, it is the responsibility of the Contractor to obtain copies, should Contractor be not familiar with their content.

· In the event of any discrepancy between SANS 1200 Standardized Specifications and other parts of the Contract Document then the order of precedence will be:

· The Specification.

· The Contract Document.

· SANS 1200

PIPELINES AND FITTINGS:

Surge analysis must be carried out on major pipelines, and the calculations included in the submissions.  Where pipelines are considered to be at a risk of water-hammer damage, a suitable surge protection system must be specified and included in the tender.

INSTALLATION
· All main pipelines must have 900 mm cover (pipe crown NGL) except sub mains where a 750 mm cover is acceptable.

· Pipe bedding must comply with SANS 1200 – and most importantly, no sharp or heavy rocks are to impinge onto the piping.

· Thrust blocks are to be constructed at pipe bends, tees, crosses and ends.  The thrust blocks must ensure that pipes and fittings will not move during normal operation of the schemes and during anticipated pressure surges (calculated as part of the design process).

· Pipelines must be left open (backfilling between joints is permissible) until laying/bedding has been approved by the Engineer.

MATERIALS
· All PVC piping must comply with SANS 966-1 and/or SANS 966-2 (state what type in STD).

· HDPE Polyethylene and utilizing compression fittings must be of the highest quality available in the market (virgin polymer).

· LDPE if needed must be of 100% virgin polymer piping.

· All steel pipework must be hot dip galvanized – after fabrication.  Where emergency welding is required after assembly, the approval of the Engineer must be obtained for this work and any antirust treatment subsequently applied must also be approved by the Engineer.  Steel pipe (>150 mm diameter) to be SANS 719 grade B or C compliant.

· All galvanized fittings whether standard or specials shall be of medium or heavy duty mild steel.

· All galvanized steel piping (≤150 mm diameter) must comply with SANS 62/1971 (as amended in 1972 and 1974).

· Flanges must be machined flat, i.e., without raised joint face and dimensions and drillings must be in accordance with SANS 1123:

· Flange joining sets must consist of a complete set of galvanized bolts and nuts and one appropriate fibre – reinforced rubber insertion ring complying with BSS 3063 and 5292.

· Bolts and nuts must be galvanized except where used on the fertigation system where they must be stainless steel.

CIVIL WORKS: GENERAL
· Backfilling and compaction of trenches must be in accordance with the appropriate SANS 1200 specification.  Should subsidence or washout occur over the completed trenches, this must be filled and compacted to NGL at the Contractor’s expense.

· This requirement will be in place until the termination of the liability defects period.  Selected fill for backfilling, bedding cradle and fill blanket will be governed by SANS 1200 DB or LB to class B C or D bedding depending on the prevailing site conditions.  A site instruction will be issues as required.  Selected fill material will be material as stated in the SANS 1200 LB or modified by site instruction.

· Precast valve boxes/rings must be included in the tender for all valves installed in/adjacent to the field for protection purposes.  Recommended size is 750 – 1000 mm diameter, 500 mm depth.

· Concrete for thrust blocks must be at least 20 MPa strength.  Concrete slabs and other structures must be at least 25 MPa.

OPERATING MANUALS

At final completion the Contractor must provide a detailed operating manual to the Project Personnel.  The manual will include commissioning results.  It should be handed over during the formal training session.

The operating manual must include:

· The Bills of Quantities

· Design data and system specifications.

· Detailed drawings.

· Layout plans – as built.

· Manufacturer’s pamphlets and data sheets for all equipment supplied that require special operating knowledge.

· Tabular and explanatory text describing recommended operation of the system with regard to sequence of irrigation, and varying applications.

· Fertigation instructions and details associated thereto.

· Commissioning results.

· Pump data report.

· Recommendations for spares and stock levels.

· A typical daily operation arrangement describing the sequence of valves and how they are to be operated to avoid pipe bursts and damages to the system.

All these elements must be presented in a single bound copy of the manual.  Three copies must be made available for keeping.
Experience: 

· The tenderer should state two (2) general works (dam construction) recently undertaken and completed as well as their project costs. These should be attached with their final approval certificates.

· The tenderer should state two (2) specific works recently undertaken and completed as well as their project costs. These should be attached with their final approval certificates.

· The tenderer should also profile any relevant works undertaken in the recent past five (5) years.

Qualifications:

· The project engineer must possess a Diploma in Civil Engineering or equivalent certificate.

· A site supervisor for the company to ensure adherence to the project engineer’s instruction is a requirement.

Tenderers are not limited to a specific number of pages detailing this information, but should note that the information provided will be used during the evaluation of this tender to determine whether you have the capacity and experience to perform the proposed contract. 

Tenderers are reminded that prior to recommending an award of contract, the Procuring Entity may decide to post qualify the lowest evaluated substantially responsive tenderer to verify the tenderer’s documentation and facilities.  A contract will not be awarded to any tenderer who fails to be post qualified. 
LOT 1: SUPPLY AND INSTALLATION OF IRRIGATION INFRASTRUCTURE AT PIGG’S PEAK CORRECTIONAL FARM. 
	
	Item description
	SIZE
	UNIT 
	Estimated Quantities 



	A.
	PRELIMINARY AND GENERAL

Site establishment


	
	Sum


	1



	B.
	TRENCHING

1.Mainline trenching 900mm x 400mm wide

2. Sub mainline trenching 400mm x 500mm

3. Lateral trenching 200mm x 300mm
	
	m

m

m


	700

700

1300

	C. 
	RIVER PUMP STATION CIVIL WORKS AND SUMP: 

1. Site Clearance

2. Earthworks 

3. Foundation concrete works

4. Foundation Block work

5. Concrete slab

6. Superstructure block work  4m x 4m

7. Ring beam and gantry

8. Roofing structure

9. Finishes


	
	Sum

Sum

Sum

Sum

Sum 

Sum

Sum 

Sum

Sum


	1

1

1

1

1

1

1

1

1

	D.
	PUMP – MECHANICAL AND ELECTRICAL WORKS:

1.Pump installation – etarnom 050-032-250 with 15kw motor

2. Suction and delivery pipework

3. Electrical works

4. Main incomer two outlets

5. Variable speed drives


	15kw

15kw
	kw

Sum

Sum

Sum

Sum
	2

1

1

1

2

	E.
	IRRIGATION LAYOUT:  

1.Installation of mainlines, class 10

2. Installation of sub mainlines, class 10

3. Installation of laterals and risers, class 10

4. Sprinkler assembly and placement

5. Stands 300mm x 25mm x1200mm

6. End caps 32mm

7. Sandles 65mm x 32mm

8. End caps 65mm 

9. Male adaptors

10. Sub mainline valve cluster 75 x 63mm with psv (pressure sustaining valve)

11. Saddles 32mm x 25mm

12. Brass Sprinklers 

13. Draglines 100m

14. Fittings installation
	75mm

63mm

32mm

300mm

1200mm

32mm

65mm

65mm

32mm

63mm

32mm

1m

20mm
	m

m

m

mm

Sum

Sum

Sum

Sum

Sum

Sum

Sum

 Sum

Sum

Sum
	700

600

1300

140

25

40

40
8

40

4

140

25

20

1

	F
	COMMISSIONING AND CLOSING OF TENDER:
Commissioning (incl pressure and flow testing/analysis, certification of results, production of operating manuals, initial/final training of operators, provision for maintenance period)
	
	Sum


	1




LOT 2: SUPPLY AND INSTALLATION OF IRRIGATION INFRASTRUCTURE AT MBABANE CORRECTIONAL FARM. 
	
	Item description
	SIZE
	UNIT 
	Estimated Quantities 



	A.
	PRELIMINARY AND GENERAL

Site establishment


	
	Sum


	1



	B.
	TRENCHING

1.Mainline trenching 900mm x 400mm wide

2. Sub mainline trenching 400mm x 500mm

3. Lateral trenching 200mm x 300mm
	
	m

m

m


	800

700

2600

	C. 
	RIVER PUMP STATION CIVIL WORKS AND SUMP: 

10. Site Clearance

11. Earthworks 

12. Foundation concrete works

13. Foundation Block work

14. Concrete slab

15. Superstructure block work  4m x 4m

16. Ring beam and gantry

17. Roofing structure

18. Finishes


	
	Sum

Sum

Sum

Sum

Sum 

Sum

Sum 

Sum

Sum


	1

1

1

1

1

1

1

1

1

	D.
	PUMP – MECHANICAL AND ELECTRICAL WORKS:

1.Pump installation – etarnom 050-032-250 with 15kw motor

2. Suction and delivery pipework

3. Electrical works

4. Main incomer two outlets

5. Variable speed drives


	15kw

15kw
	kw

Sum

Sum

Sum

Sum
	2

1

1

1

2

	E.
	IRRIGATION LAYOUT:  

1.Installation of mainlines, class 10

2. Installation of sub mainlines, class 10

3. Installation of laterals and risers, class 10

4. Sprinkler assembly and placement

5. Stands 300mm x 25mm x 1200mm
6. End caps 32mm

7. Sandles 65mm x 32mm

8. End caps 65mm 

9. Male adaptors

10. Sub mainline valve cluster 75 x 63mm with psv (pressure sustaining valve)

11. Saddles 32mm x 25mm

12. Brass Sprinklers 

13. Draglines 100m

14. Fittings installation
	75mm

63mm

32mm

300mm

1200mm

32mm

65mm

65mm

32mm

63mm

32mm

1m

20mm
	m

m

m

mm

Sum

Sum

Sum

Sum

Sum

Sum

Sum

Sum

Sum

Sum
	800

1200

2600

280

50

80

80
16

80

8

280

50

40

1

	F
	COMMISSIONING AND CLOSING OF TENDER:
Commissioning (incl pressure and flow testing/analysis, certification of results, production of operating manuals, initial/final training of operators, provision for maintenance period)
	
	Sum


	1


	
	


LOT 3: DESILTING OF RIVER BANKS, SUPPLY AND INSTALLATION OF IRRIGATION INFRASTRUCTURE AT BIG BEND CORRECTIONAL FARM

	
	Item description
	SIZE
	UNIT 
	Estimated Quantities 



	A.
	PRELIMINARY AND GENERAL

Site establishment


	
	Sum


	1



	B.
	DESILTING AND CLEARING OF CANAL WATER INTAKE AREA:

1.Excavation and desilting of sand soil deposition bend at water intake point.

	
	m3 
	1800

	C. 
	INSTALLATION OF PIPES TO DRAW WATER FROM THE RIVER:

1. Installation of perforated pipes from across the river bed subsurface to the water intake point. To cover 150m.
2. Application of crushed stones to cover perforated pipes across river bed surface to the water intake point.

3.  Installation of filter membrane to envelope the perforated pipes across the river bed.


	110mm

x 6m

150m x 

3m
	M

M3

m
	75

200

450

	D.


	DESILTING AND CLEARING OF SANDTRAP:

1.Upgrading of current sand trap – re-enforce walls using 32 MAP readily mixed concrete. 10m x 2m x 1m.

Reinforced walls (Length) – 10m x 2m x 115mm

Reinforced walls (Width) – 2m x 1m x 115mm


Reinforced Floor – 10m x 1m x 115mm

2.Ring force – Y12 x 6m

4.Mesh wire – 2.4m x 4.6m
	10m x 2m x 115mm

2m x 1m x 115mm
10m x 1m x 115mm

6m

2.4m x 4.6m
	M3

M3

M3

M

m
	4.6 
0.46

1.15

11

6

	F
	COMMISSIONING AND CLOSING OF TENDER:
Commissioning (incl pressure and flow testing/analysis, certification of results, production of operating manuals, initial/final training of operators, provision for maintenance period)
	
	Sum


	1


	
	


SCHEDULE OF REQUIREMENTS

Number of Lots: 3

LOT 1: SUPPLY AND INSTALLATION OF IRRIGATION INFRASTRUCTURE AT PIGG’S PEAK CORRECTIONAL FARM. 
	
	Item description
	SIZE
	UNIT 
	Estimated Quantities 


	Schedule of delivery
	Place of delivery

	A.
	PRELIMINARY AND GENERAL

Site establishment
	
	Sum


	1
	As per schedule
	Piggs peak Correctional

	B.
	TRENCHING

1.Mainline trenching 900mm x 400mm wide

2. Sub mainline trenching 400mm x 500mm

3. Lateral trenching 200mm x 300mm
	
	m

m

m


	700

700

1300
	As per schedule
	Piggs peak Correctional

	C. 
	RIVER PUMP STATION CIVIL WORKS AND SUMP: 

1. Site Clearance

2. Earthworks 

3. Foundation concrete works

4. Foundation Block work

5. Concrete slab

6. Superstructure block work  4m x 4m

7. Ring beam and gantry

8. Roofing structure

9. Finishes
	
	Sum

Sum

Sum

Sum

Sum 

Sum

Sum 

Sum

Sum
	1

1

1

1

1

1

1

1

1
	As per schedule
	Piggs peak Correctional

	D.
	PUMP – MECHANICAL AND ELECTRICAL WORKS:

1.Pump installation – etarnom 050-032-250 with 15kw motor

2. Suction and delivery pipework

3. Electrical works

4. Main incomer two outlets

5. Variable speed drives


	15kw

15kw
	kw

Sum

Sum

Sum

Sum
	2

1

1

1

2
	As per schedule
	Piggs peak Correctional

	E.
	IRRIGATION LAYOUT:  

1.Installation of mainlines, class 10

2. Installation of sub mainlines, class 10

3. Installation of laterals and risers, class 10

4. Sprinkler assembly and placement

5. Stands 300mm x 25mm x1200mm.
6. End caps 32mm

7. Sandles 65mm x 32mm

8. End caps 65mm 

9. Male adaptors

10. Sub mainline valve cluster 75 x 63mm with psv (pressure sustaining valve)

11. Saddles 32mm x 25mm

12. Brass Sprinklers 

13. Draglines 100m

14. Fittings installation
	75mm

63mm

32mm

300mm

1200mm

32mm

65mm

65mm

32mm

63mm

32mm

1m

20mm
	m

m

m

mm

Sum

Sum

Sum

Sum

Sum

Sum

Sum

Sum

Sum

Sum
	700

600

1300

140

25

40

40
8

40

4

140

25

20

1
	As per schedule
	Piggs peak Correctional

	F
	COMMISSIONING AND CLOSING OF TENDER:
1. Commissioning (incl pressure and flow testing/analysis, certification of results, production of operating manuals, initial/final training of operators, provision for maintenance period)
	
	Sum


	1


	As per schedule
	Piggs peak Correctional


Prices Shall Include All Taxes, Sales Tax and Duty Paid or To Be Paid in The Event of An Award of Contract.

Signed:
………………………………………..
………………………………………..

(Signature)                                                     (In the Capacity Of)
Duly authorized to sign the Tender for and on behalf of……………………………………
Date: ………………………………………..

LOT 2: SUPPLY AND INSTALLATION OF IRRIGATION INFRASTRUCTURE AT MBABANE CORRECTIONAL FARM.

	
	Item description
	SIZE
	UNIT 
	Estimated Quantities 


	Schedule of delivery
	Place of delivery

	A.
	PRELIMINARY AND GENERAL

Site establishment


	
	Sum


	1


	As per schedule
	Mbabane Correctional 

	B.
	TRENCHING

1.Mainline trenching 900mm x 400mm wide

2. Sub mainline trenching 400mm x 500mm

3. Lateral trenching 200mm x 300mm
	
	m

m

m


	800

700

2600
	As per schedule
	Mbabane Correctional

	C. 
	RIVER PUMP STATION CIVIL WORKS AND SUMP: 

1. Site Clearance

2. Earthworks 

3. Foundation concrete works

4. Foundation Block work

5. Concrete slab

6. Superstructure block work  4m x 4m

7. Ring beam and gantry

8. Roofing structure

9. Finishes


	
	Sum

Sum

Sum

Sum

Sum 

Sum

Sum 

Sum

Sum


	1

1

1

1

1

1

1

1

1
	As per schedule
	Mbabane Correctional

	D.
	PUMP – MECHANICAL AND ELECTRICAL WORKS:

1.Pump installation – etarnom 050-032-250 with 15kw motor

2. Suction and delivery pipework

3. Electrical works

4. Main incomer two outlets

5. Variable speed drives


	15kw

15kw
	kw

Sum

Sum

Sum

Sum
	2

1

1

1

2
	As per schedule
	Mbabane Correctional 

	E.
	IRRIGATION LAYOUT:  

1.Installation of mainlines, class 10

2. Installation of sub mainlines, class 10

3. Installation of laterals and risers, class 10

4. Sprinkler assembly and placement

5. Stands 300mm x 25mm x 1200mm
6. End caps 32mm

7. Sandles 65mm x 32mm

8. End caps 65mm 

9. Male adaptors

10. Sub mainline valve cluster 75 x 63mm with psv (pressure sustaining valve)

11. Saddles 32mm x 25mm

12. Brass Sprinklers 

13. Draglines 100m

14. Fittings installation
	75mm

63mm

32mm

300mm

1200mm

32mm

65mm

65mm

32mm

63mm

32mm

1m

20mm
	m

m

m

mm

Sum

Sum

Sum

Sum

Sum

Sum

Sum

Sum

Sum

Sum
	800

1200

2600

280

50

80

80
16

80

8

280

50

40

1
	As per schedule
	Mbabane Correctional 

	F
	COMMISSIONING AND CLOSING OF TENDER:
1. Commissioning (incl pressure and flow testing/analysis, certification of results, production of operating manuals, initial/final training of operators, provision for maintenance period)
	
	Sum


	1


	As per schedule
	Mbabane Correctional


Prices Shall Include All Taxes, Sales Tax and Duty Paid or To Be Paid in The Event of An Award of Contract.

Signed:
………………………………………..
………………………………………..

(Signature)                                                     (In the Capacity Of)
Duly authorized to sign the Tender for and on behalf of……………………………………

Date: ………………………………………..
LOT 3: DESILTING OF RIVER BANKS, SUPPLY AND INSTALLATION OF IRRIGATION INFRASTRUCTURE AT BIG BEND CORRECTIONAL FARM

	
	Item description
	SIZE
	UNIT 
	Estimated Quantities 


	Schedule of delivery
	Place of delivery

	A.
	PRELIMINARY AND GENERAL

Site establishment


	
	Sum


	1


	As per schedule
	Big bend Correctional

	B.
	DESILTING AND CLEARING OF CANAL WATER INTAKE AREA:

1.Excavation and desilting of sand soil deposition bend at water intake point.

	
	m3 
	1800
	As per schedule
	Big bend Correctional

	C. 
	INSTALLATION OF PIPES TO DRAW WATER FROM THE RIVER:

1. Installation of perforated pipes from across the river bed subsurface to the water intake point. 

2. Application of crushed stones to cover perforated pipes across river bed surface to the water intake point.

3.  Installation of filter membrane to envelope the perforated pipes across the river bed.


	110mm

x 6m

150m x 

3m
	M

M3

m
	75

200

450
	As per schedule
	Big bend Correctional

	D.
	DESILTING AND CLEARING OF SANDTRAP:

1.Upgrading of current sand trap – re-enforce walls using 32 MAP readily mixed concrete. 10m x 2m x 1m.

Reinforced walls (Length) – 10m x 2m x 115mm

Reinforced walls (Width) – 2m x 1m x 115mm


Reinforced Floor – 10m x 1m x 115mm

2.Ring force – Y12 x 6m

4.Mesh wire – 2.4m x 4.6m
	10m x 2m x 115mm

2m x 1m x 115mm
10m x 1m x 115mm

6m

2.4m x 4.6m

	M3

M3

M3

M

M


	4.6 
0.46

1.15

11

6


	As per schedule
	Big bend Correctional

	E.
	COMMISSIONING AND CLOSING OF TENDER:
Commissioning (incl pressure and flow testing/analysis, certification of results, production of operating manuals, initial/final training of operators, provision for maintenance period)
	
	Sum


	1


	As per schedule
	Big bend Correctional


CONTRACT FORM

THIS AGREEMENT made the   day of  between [His Majesty’sCorrectional Services] of the Kingdom of Eswatini (hereinafter called “the Procuring Entity”) of the one part and [] of [] (hereinafter called “the Supplier”) of the other part:

WHEREAS the Procuring Entity invited Tenders for certain goods and ancillary services, viz., [] and has accepted a Tender by the Supplier for the supply of those goods and services in the sum of [] (hereinafter called “the Contract Price”).

NOW THIS AGREEMENT WITNESSETH AS FOLLOWS:

1.
In this Agreement words and expressions shall have the same meanings as are respectively assigned to them in the Conditions of Contract referred to.

2.
The following documents shall be deemed to form and be read and construed as part of this Agreement, viz.:

(a)
The Tender Form and the Price Schedule submitted by the Tenderer;

(b)
The Schedule of Requirements;

(c)
The payment schedule – Annexure A;

(d)
The General Conditions of Contract;

(e)
The Special Conditions of Contract; 

(f)
The Procuring Entity’s Notification of Award;and

(g)        The Award - Annexure B

3.
In consideration of the payments to be made by the Procuring Entity to the Supplier as hereinafter mentioned, the Supplier hereby covenants with the Procuring Entity to provide the goods and services and to remedy defects therein in conformity in all respects with the provisions of the Contract

4.
The Procuring Entity hereby covenants to pay the Supplier in consideration of the provision of the goods and services and the remedying of defects therein, the Contract Price or such other sum as may become payable under the provisions of the contract at the times and in the manner prescribed by the contract.IN WITNESS whereof the parties hereto have caused this Agreement to be executed in accordance with their respective laws the day and year first above written.

Signed, sealed, delivered by ____________________the_________________

(For the Procuring Entity)

Signed, sealed, delivered by ____________________the_________________

(For the Procuring Entity)
Signed, sealed, delivered by ____________________the_________________

(For the Supplier)

Signed, sealed, delivered by ____________________the_________________

(For the Supplier)

GENERAL CONDITIONS OF CONTRACT

FOR THE SUPPLY AND DELIVERY OF GOODS


Table of Clauses

1.
Definitions

2.
Application

3.
Standards

4.
Use of Contract Documents and Information

5.
Patent Rights

6.
Performance Security

7.
Inspection and Tests

8.
Packing

9.
Delivery and Documents

10.
Insurance

11.
Transportation

12.
Incidental Services

13.
Spare Parts

14.
Warranty

15.
Payment

16.
Prices

17.
Change Orders

18.
Contract Amendments

19.
Assignment

20.
Subcontracts

21.
Delays in the Supplier's Performance

22.
Liquidated Damages

23.
Termination for Default

24.
Force Majeure

25.
Termination for Insolvency

26.
Termination for Convenience

27.
Resolution of Disputes

28.
Governing Language

29.
Applicable Law

30.
Notices

31.
Taxes and Duties

GENERAL CONDITIONS OF CONTRACT

FORTHE SUPPLY OF GOODS

1.
Definitions

1.1
In this Contract, the following terms shall be interpreted as indicated:

(a)
"The Contract" means the agreement entered into between the Procuring Entity and the Supplier, as recorded in the Contract Form signed by the parties, including all attachments and appendices thereto and all documents incorporated by reference therein.

(b)
"The Contract Price" means the price payable to the Supplier under the Contract for the full and proper performance of its contractual obligations.

(c)
"The Goods" means all of the equipment, machinery, and/or other materials which the Supplier is required to supply to the Procuring Entity under the Contract.

(d)
"The Services" means those services ancillary to the supply of the Goods, such as transportation and insurance, and any other incidental services, such as installation, commissioning, provision of technical assistance, training, and other such obligations of the Supplier covered under the Contract.

(e)
"GCC" mean the General Conditions of Contract contained in this section.

(g)
"The Procuring Entity” means the organization purchasing the Goods, as named in the Contract form.

(h)
"The Supplier" means the individual or firm supplying the Goods and Services under this Contract as named in the Contract Form.

(i)
"The Project Site", where applicable, means the place or places named in the Special Conditions Special Conditions of Contract.

(j)
"Day" means calendar day.

2.
application

2.1
These General Conditions shall apply to the extent that they are not superseded by provisions of other parts of the Contract.

3.
Standards

3.1
The Goods supplied under this Contract shall be new, unused and of the latest design and must conform to the standards mentioned in the Technical Specifications, and, when no applicable standard is mentioned, to the authoritative standards appropriate to the Goods' country of origin. Such standards shall be the latest issued by the concerned institution.

4.
Use of Contract Documents and Information

4.1
The Supplier shall not, without the Procuring Entity's prior written consent, disclose the Contract, or any provision thereof, or any specifica​tion, plan, drawing, pattern, sample, or information furnished by or on behalf of the Procuring Entity in connection therewith, to any person other than a person employed by the Supplier in the performance of the Contract. Disclosure to any such employed person shall be made in confidence and shall extend only so as may be necessary for purposes of such performance.

4.2
The Supplier shall not, without the Procuring Entity’s prior written consent, make use of any document or information enumerated in GCC Clause 4.1 except for purposes of performing the Contract.

4.3
Any document, other than the Contract itself, enumerated in GCC Clause 4.1 shall remain the property of the Procuring Entity  and shall be returned (in all copies) to the Procuring Entity on completion of the Supplier's performance under the Contract if so required by the Procuring Entity.

5.
Patent Rights

5.1
The Supplier shall indemnify and hold harmless the Procuring Entity against all third-party claims of infringement of patent, trademark, industrial design, or intellectual property rights arising from use of the Goods or any part thereof. 

6.
Performance Security

6.1
Within fourteen (14) days of receipt of the notification of Contract award and before the contract signing, the successful Supplier shall furnish to the Procuring Entity the Performance Security in the amount and in the format specified in the Special Conditions of Contract.

6.2
The proceeds of the Performance Security shall be payable to the Procuring Entity as compensation for any loss resulting from the Supplier's failure to complete its obligations under the Contract.

6.3
The Performance Security shall be denominated in the currency of the Contract and shall be in one of the following forms:

(a)
a bank guarantee issued by a reputable bank located in the Tenderer’s country or abroad, acceptable to the Procuring Entity, in the form provided in the Invitation to Tender documents or another form acceptable to the Procuring Entity; or

(b)
an insurance company bond from a reputable Insurance company acceptable to the Procuring Entity.  

6.4
Once delivery of the requirements has been completed the Supplier may apply to have the Performance Security reduced to 1% (one percent) to cover the period of warranty obligations. 

6.5
The Performance Security will be discharged by the Procuring Entity and returned to the Supplier not later than thirty (30) days following the date of completion of the Supplier's performance obligations under the Contract, including any warranty obligations, unless specified otherwise in the Special Conditions of Contract.

7.
Inspections and Tests

7.1
The Procuring Entity or its representative shall have the right to inspect and/or to test the Goods to confirm their conformity to the Contract specifications at no extra cost to the Procuring Entity. The Special Conditions of Contract and the Technical Specifications shall specify what inspections and tests the Procuring Entity requires and where they are to be conducted. The Procuring Entity shall notify the Supplier in writing, in a timely manner, of the identity of any representatives retained for these purposes.

7.2
The inspections and tests may be conducted on the premises of the Supplier or its subcontractor(s), at point of delivery, and/or at the Goods' final destination. If conducted on the premises of the Supplier or its subcontractor(s), all reasonable facilities and assistance, including access to drawings and production data, shall be furnished to the inspectors at no charge to the Procuring Entity.

7.3
Should any inspected or tested Goods fail to conform to the Specifications, the Procuring Entity may reject the Goods, and the Supplier shall either replace the rejected Goods or make alterations necessary to meet specification requirements free of cost to the Procuring Entity.

7.4
The Procuring Entity 's right to inspect, test and, where necessary, reject the Goods after the Goods' arrival in Eswatini shall in no way be limited or waived by reason of the Goods having previously been inspected, tested, and passed by the Procuring Entity or its representative prior to the Goods' shipment from the country of origin.

Nothing in GCC Clause 7 shall in any way release the Supplier from any warranty or other obligations under this Contract.

7.6 
Where a sample is furnished by the Supplier, the Goods shall be equivalent thereto in every respect.

8.
Packing

8.1
The Supplier shall provide such packing of the Goods as is required to prevent their damage or deterioration during transit to their final destination, as indicated in the Contract. The packing shall be sufficient to withstand, without limitation, rough handling during transit and exposure to extreme temperatures, salt and precipitation during transit, and open storage. Packing case size and weights shall take into consideration, where appropriate, the remoteness of the Goods' final destination and the absence of heavy handling facilities at all points in transit.

8.2
The packing, marking, and documentation within and outside the packages shall comply strictly with such special requirements as shall be expressly provided for in the Contract, including additional requirements, if any, specified in the Special Conditions of Contract, and in any subsequent instructions given by the Procuring Entity.

9.
Delivery and Documents

Delivery of the Goods shall be made by the Supplier in accordance with the terms specified in the Schedule of Requirements. The details of shipping and/or other documents to be furnished by the Supplier are specified in the Special Conditions of Contract.

9.2
For purposes of the Contract, the trade terms used to describe the obligations of the parties shall have the meanings assigned to them by the current edition of Incoterms published by the International Chamber of Commerce, Paris.

9.3
Documents to be submitted by the Supplier are specified in the Special Conditions of Contract.

10.
Insurance

10.1
The Goods supplied under the Contract shall be fully insured in a freely convertible currency against loss or damage incidental to manufacture or acquisition, transportation, storage, and delivery in the manner specified in the Special Conditions of Contract.

11.
Transpor​tation

11.1
Where the Supplier is required under the Contract to deliver the Goods FCA, transport of the Goods and delivery into the custody of the carrier at the place named by the Procuring Entity or other agreed point shall be arranged and paid for by the Supplier, and the cost thereof shall be included in the Contract Price.

11.2
Where the Supplier is required under the Contract to deliver the Goods CIP, transport of the Goods to the port of destination or such other named place of destination in  Eswatini, as shall be specified in the Contract, shall be arranged and paid for by the Supplier, and the cost thereof shall be included in the Contract Price.

11.3
Where the Supplier is required under the Contact to transport the Goods to a specified place of destination within Eswatini, defined as the Project Site, transport to such place of destination in Eswatini, including insurance and storage, as shall be specified in the Contract, shall be arranged by the Supplier, and the related costs shall be included in the Contract Price.

12.
Incidental Services

12.1
The Supplier may be required to provide any or all of the following services, including additional services, if any, specified in the Special Conditions of Contract:

(a)
performance or supervision of on-site assembly and/or start-up of the supplied Goods;

(b)
furnishing of tools required for assembly and/or maintenance of the supplied Goods;

(c)
furnishing of a detailed operations and maintenance manual for each appropriate unit of the supplied Goods;

(d)
performance or supervision or maintenance and/or repair of the supplied Goods, for a period of time agreed by the parties, provided that this service shall not relieve the Supplier of any warranty obligations under this Contract; and

(e)
training of the Procuring Entity’s personnel, at the Supplier's plant and/or on-site, in assembly, start-up, operation, maintenance, and/or repair of the supplied Goods.

12.2
Prices charged by the Supplier for incidental services, if not included in the Contract Price for the Goods, shall be agreed upon in advance by the parties and shall not exceed the prevailing rates charged for other parties by the Supplier for similar services.

13.
Spare Parts

13.1
As specified in the Special Conditions of Contract, the Supplier may be required to provide any or all of the following materials, notifications, and information pertaining to spare parts manufactured or distributed by the Supplier:

(a)
such spare parts as the Procuring Entity  may elect to purchase from the Supplier, provided that this election shall not relieve the Supplier of any warranty obligations under the Contract; and

(b)
in the event of termination of production of the spare parts:

(i)
advance notification to the Procuring Entity of the pending termination, in sufficient time to permit the Procuring Entity  to procure needed requirements; and

(ii)
following such termination, furnishing at no cost to the Procuring Entity, the blueprints, drawings, and specifications of the spare parts, if requested.

14.
Warranty

14.1  
The Supplier warrants that the Goods supplied under the Contract are new, unused, of the most recent or current models and that incorporate all recent improvements in design and materials unless provided otherwise in the Contract. The Supplier further warrants that all Goods supplied under this Contract shall have no defect, arising from design, materials, or workmanship (except when the design and/or material is required by the Procuring Entity's specifications) or from any act or omission of the Supplier that may develop under normal use of the supplied Goods in the conditions prevailing in Eswatini.

14.2
This warranty shall remain valid for twelve (12) months after the Goods, or any portion thereof as the case may be, have been delivered to and accepted at the final destination indicated in the Contract, or for eighteen (18) months after the date of shipment from the port or place of loading in the source country, whichever period concludes earlier, unless specified otherwise in the Special Conditions of Contract.

14.3
The Procuring Entity shall promptly notify the Supplier in writing of any claims arising under this warranty.

14.4
Upon receipt of such notice, the Supplier shall, within the period specified in the Special Conditions of Contract and with all reasonable speed, repair or replace the defective Goods or parts thereof, without costs to the Procuring Entity. 

14.5
If the Supplier, having been notified, fails to remedy the defect(s) within the period specified in the Special Conditions of Contract, the Procuring Entity may proceed to take such remedial action as may be necessary at the Supplier's risk and expense and without prejudice to any other rights which the Procuring Entity may have against the Supplier under the Contract.

15.
Payment

15.1
The method and conditions of payment to be made to the Supplier under this Contract shall be specified in the Special Conditions of Contract.

15.2
The Supplier's request(s) for payment shall be made to the Procuring Entity in writing, accompanied by an invoice describing, as appropriate, the Goods delivered and Services performed, and by documents submitted pursuant to GCC Clause 9, and upon fulfilment of other obligations stipulated in the Contract.

15.3
Payments shall be made promptly by the Procuring Entity, but in no case later than forty five (45) days after submission of an invoice or claim by the Supplier unless otherwise stated in the Special Conditions of Contract.

16.
Prices

16.1
Prices charged by the Supplier for Goods delivered and Services performed under the Contract shall not vary from the prices quoted by the Supplier in its tender. 

17.
Change Orders

17.1
The Procuring Entity may at any time, by a written order given to the Supplier pursuant to GCC Clause 30, make changes within the general scope of the Contract in any one or more of the following:

(a)
drawings, designs or specifications, where Goods to be furnished under the Contract are to be specifically manufactured for the Procuring Entity ;

(b)
the method of shipment or packing;

(c)
the place of delivery; and/or

(d)
the Services to be provided by the Supplier.

17.2
If any such change causes an increase or decrease in the cost of, or the time required for, the Supplier's performance of any provisions under the Contract, an equitable adjustment shall be made in the Contract price or delivery schedule, or both, and the Contract shall accordingly be amended.  Any claims by the Supplier for adjustment under this clause must be asserted within thirty (30) days from the date of the Supplier's receipt of the Procuring Entity's change order.

18.
Contract Amendments

18.1
Subject to GCC Clause 17, no variation in or modification of the terms of the Contract shall be made except by written amendment signed by the parties.

19.
Assignment

19.1
The Supplier may not assign, in whole or in part, its obligations to perform under this Contract, except with the Procuring Entity's prior written consent.

20.
Subcontracts

20.1
The Supplier may not enter into any subcontract for performance hereunder unless the Procuring Entity shall have previously consented in writing to such subcontract.  Such consent shall not, however, unless otherwise specified in such consent or in the Contract, relieve the Supplier from any liability or obligation under the Contract.

21.
Delays in the Supplier's Performance

21.1
Delivery of the Goods and performance of Services shall be made by the Supplier in accordance with the time schedule prescribed by the Procuring Entity in the Schedule of Requirements.

21.2
If at any time during performance of the Contract, the Supplier or its subcontrac​tor(s) should encounter conditions impeding timely delivery of the Goods and performance of Services, the Supplier shall promptly notify the Procuring Entity in writing of the fact of the delay, its likely duration and its cause(s). As soon as practicable after receipt of the Supplier's notice, the Procuring Entity  shall evaluate the situation and may at its discretion extend the Supplier's time for performance, with or without liquidated damages, in which case the extension shall be ratified by the parties by amendment of the Contract.

21.3
Except as provided under GCC Clause 24, a delay by the Supplier in the performance of its delivery obligations shall render the Supplier liable to the imposition of liquidated damages pursuant to GCC Clause 22, unless an extension of time is agreed upon pursuant to GCC Clause 21.2 without the application of liquidated damages.

22.
Liquidated Damages

22.1
Subject to GCC Clause 24, if the Supplier fails to deliver any or all of the Goods or to perform the Services within the period(s) specified in the Contract, the Procuring Entity shall, without prejudice to its other remedies under the Contract, deduct from the Contract Price, as liquidated damages, a sum equivalent to the percentage specified in the Special Conditions of Contract of the delivered price of the delayed Goods or unperformed Services for each week or part thereof of delay until actual delivery or performance, up to a maximum deduction of the percentage specified in the Special Conditions of Contract. Once the maximum is reached, the Procuring Entity may consider termination of the Contract pursuant to GCC Clause 23.

23.
Termination for Default

23.1
The Procuring Entity, without prejudice to any other remedy for breach of Contract, by written notice of default sent to the Supplier, may terminate this Contract in whole or in part:

(a)
if the Supplier fails to deliver any or all of the Goods within the period(s) specified in the Contract, or within any extension thereof granted by the Procuring Entity  pursuant to GCC Clause 21; or

(b)
if the Supplier fails to perform any other obligation(s) under the Contract.

23.2
In the event the Procuring Entity terminates the Contract in whole or in part, pursuant to GCC Clause 23.1, the Procuring Entity may procure, upon such terms and in such manner as it deems appropriate, Goods or Services similar to those undelivered, and the Supplier shall be liable to the Procuring Entity for any excess costs for such similar Goods or Services. However, the Supplier shall continue performance of the Contract to the extent not terminated.

24.
Force Majeure

24.1
Notwithstanding the provisions of GCC Clauses 21, 22 and 23, the Supplier shall not be liable for forfeiture of its performance security, liquidated damages or termination for default if and to the extent that its delay in performance or other failure to perform its obligations under the Contract is the result of an event of Force Majeure.

24.2
For purposes of this clause, "Force Majeure" means an event beyond the control of the Supplier and not involving the Supplier's fault or negligence and not foreseeable. Such events may include, but are not restricted to, acts of the Procuring Entity in its sovereign capacity, wars or revolutions, fires, floods, epidemics, quarantine restrictions, and freight embargoes.

24.3
If a Force Majeure situation arises, the Supplier shall promptly notify the Procuring Entity in writing of such condition and the cause thereof. Unless otherwise directed by the Procuring Entity in writing, the Supplier shall continue to perform its obligations under the Contract as far as is reasonably practical, and shall seek all reasonable alternative means for performance not prevented by the Force Majeure event.

25.
Termination for Insolvency

25.1
The Procuring Entity may at any time terminate the Contract by giving written notice to the Supplier if the Supplier becomes bankrupt or otherwise insolvent. In this event, termination will be without compensation to the Supplier, provided that such termination will not prejudice or affect any right of action or remedy which has accrued or will accrue thereafter to the Procuring Entity.

26.
Termination for Convenience

26.1
The Procuring Entity, by written notice sent to the Supplier, may terminate the Contract, in whole or in part, at any time for its convenience. The notice of termination shall specify that termination is for the Procuring Entity's convenience, the extent to which performance of the Supplier under the Contract is terminated, and the date upon which such termination becomes effective.

26.2
The Goods, which are complete and ready for shipment within thirty (30) days after the Supplier's receipt of notice of termination, shall be accepted by the Procuring Entity at the Contract terms and prices. For the remaining Goods, the Procuring Entity may choose to:

(a)
have any portion completed and delivered at the Contract terms and prices; and/or

(b)
cancel the remainder and pay to the Supplier an agreed amount for partially completed Goods and Services and for materials and parts previously procured by the Supplier.

27.
Resolution of Disputes

27.1
The Procuring Entity  and the Supplier shall make every effort to resolve amicably by direct informal negotiation any disagreement, dispute, or claim  arising out of or in connection with the Contract or the breach, termination, or validity thereof.

27.2
If, after thirty (30) days from the commencement of such informal negotiations, the Procuring Entity and the Supplier have failed to negotiate such an amicable settlement, any dispute, controversy, or claim arising out of or in connection with this Contract, or the breach, termination, or validity thereof, either party may require that the dispute be referred for resolution by final and binding arbitration in accordance with the UNCITRAL Arbitration Rules presently in force. 

27.6
The arbitrators shall determine the matters in dispute in accordance with the laws in effect in Eswatini.

27.7
All notices to be given in connection with the arbitration shall be in writing and shall be effective upon receipt.

28.
Governing Language

28.1
The Contract shall be written in the English. All correspondence and other documents pertaining to the Contract which are exchanged by the parties shall be written in the same language.

29.
Applicable Law

29.1
The Contract shall be interpreted in accordance with the laws and regulations in effect in The Kingdom of Eswatini.

30.  Notices

30.1
Any notice given by one party to the other pursuant to this Contract shall be sent to the other party in writing by personal delivery, mail, or e-mail or facsimile and, if by e-mail or facsimile, confirmed in writing to the other party's address specified in the Special Conditions of Contract.  Each party may change such address by notice to the other party.

30.2
A notice shall be effective when delivered or on the notice's effective date, whichever is later.

31.
Taxes and Duties

31.1
The Supplier shall be entirely responsible for all taxes, stamp duties, license fees, and other such levies incurred or imposed until delivery of the contracted Goods to the Procuring Entity.

SPECIAL CONDITIONS OF CONTRACT

The following Special Conditions of Contract shall supplement the General Conditions of Contract. The corresponding clause number of the GCC is indicated in first colon. Whenever there is a conflict, the provisions in the Special Conditions of Contract shall prevail over those in the General Conditions of Contract. 

	GCC Clause no
	GCC subject
	Special Condition(s)

	1.1
	Additional definitions
	In addition to the definitions in GCC 1.1, the following words and expressions shall have the meanings hereby assigned to them:

(k) “Framework Contract” means a contract arrangement for an estimated quantity or minimum value of Supplies at fixed rates, where actual quantities are purchased by means of Government Orders and payment is made for the actual quantities.

(l) “Government Order” means an order issued by the Procuring Entity for the purchase of specified quantities of the Supplies under a framework contract.

(m) “Response time” means the period for delivery of the Supplies, calculated from the date of a Government Order.



	1.1 (a)
	Name and address of the Procuring Entity and the Supplier
	Procuring Entity: 

Client: His Majesty’s  Correctional Services 

Address: P.O Box 166 Mbabane,H100

Phone: (2404 2476/7/8)

Fax : (2404 3357)


Contact Person: Mr LM. Malindzisa

 Commissioner : Finance and Budgetary Affairs


Supplier:

Client:
Address: 

Phone:

 Fax :


Contact Person:

	6
	Performance Security:
	

	6.1
	The amount of the Performance Security
	As a percentage of the contract price’ shall be 5% (five percent)

	6.3
	The format of the Performance Security
	The Performance Security shall be provided in

the form: 

· a bank guarantee issued by a reputable bank located in the Tenderer’s country or abroad, acceptable to the Procuring Entity, in the form provided in the Invitation to Tender documents or another form acceptable to the Procuring Entity; or

· an Insurance Company Bond from a reputable Insurance company acceptable to the Procuring Entity.  

The Performance Security shall be valid for the period of the Contract including any warranty obligations.

	7. Inspections and Tests:

	7 .1
	Inspection(s) and test(s): 
	Inspections shall be done on delivery 

	7.2
	Place(s) of inspection and test(s)
	Matsapha Correctional Farm

	9. Delivery and Documents:

	9.1
	Delivery of the Goods:
	Delivery of the Goods shall be made by the Supplier in accordance with the terms specified in the Schedule of Requirements. 



	9.3 
	Document to be delivered by the supplier:
	The document to be supplied upon delivery shall be: 

1. Delivery note

2. Invoice



	10
	Insurance
	The supplier shall take full responsibility of the transport of the good during transportation i.e. Goods from “Warehouse” to “Warehouse “on “All Risks” basis, including War Risks and Strikes.

	15. Payment: 

	15.1
	The method and conditions of payment:  
	Payments shall be made promptly by the procuring entity, but in no case later than forty five (45) days after submission of an invoice or claim by the supplier based on a Government Order accompanied by a letter of satisfactory inspection from an official at the delivery.

Payment shall be calculated on the basis of the unit prices specified in the Price Schedule in the Framework Contract and the quantities specified in the Government order.

	22
	Liquidated Damages:
	Liquidated damages will apply to any delayed portion of the contract and will be a deduction of payment equivalent to half of one percent (0.5%) of the value of the delayed portion per week of delay up to a maximum of 10% (Ten percent). 



	30. Notices:

	30.1
	Procuring Entity’s address for notice purposes:
	Client: His Majesty’s Correctional Services 

Address: P.O Box 166 Mbabane,H100

Phone: (2404 2476/7/8)

Fax : (2404 3357)


Contact Person: Mr LM Malindzisa

Commissioner : Finance and Budgetary Affairs

	30.1
	Supplier’s address for notice purposes: 
	Client: 
Address:

Phone: 

Fax :


Contact Person:


PERFORMANCE SECURITY 

To:
Government of Eswatini


Mbabane


Eswatini

WHEREAS………………………………………………………………..(hereinafter called the “Supplier”) has undertaken, in pursuance of Contract No……………..

[>>>reference number of the contract>>>]date………………..202…………….to supply [>>short description of goods and associated service>>](hereinafter called the “Contract” ) 

AND WHEREAS it has been stipulated by you in the said Contract that the Supplier shall furnish you with a performance security by a reputable Financial Institution for the sum specified therein as security for compliance with the Supplier’s performance obligations in accordance with the Contract.

AND WHEREAS we have agreed to give the Supplier a performance security. 

THEREFORE WE hereby affirm that we are Guarantors and responsible to you, on behalf of the Supplier up to a total of[>>>the amount of the Performance Security in words and figures>>>],and we undertake to pay you, upon your first written demand declaring the Supplier to be in default under the Contract and withoutcavil or argument, any sum or sums within the limit of[>>>the amount of the Performance Security>>>]as aforesaid, without your needing to prove or to show grounds or reasons for your demand or the sum specified therein.

This Performance Security is valid until the ……………day of…….……202…..

Signature and seal of the Guarantors

…………………………………………………………………………………………

(Name of the bank or financial institution)

…………………………………………………………………………………………..

(Address of the bank or financial institution)

…………………………………………………………………………………………..

(Date)

PAGE  

